## Slide 1: Validation of the Particle Image Velocimetry (PIV) for flow control around NACA 0015 with EHD actuator in silicone oil
Clément Gouriou
Christophe Louste
Institut P’ • UPR CNRS 3346
SP2MI • Téléport 2
11, Boulevard Marie et Pierre Curie • BP 30179
F86962 FUTUROSCOPE CHASSENEUIL Cedex
UPR3346-POW02

## Slide 2: Outline
Introduction
PIV method
Theoretical study of particle charge
Experimental setup
Velocity measurement with PIV
Current measurement
Conclusion
Flow control in liquids

## Slide 3
Introduction
Development of flow control in liquids with ElectroHydroDynamic (EHD) actuators
Flow measurement is used
  Particle Image Velocimetry (PIV) technique
Seeding particles are necessary for PIV measurements

## Slide 4
2 Main hypothesis in PIV:
Fig. 1 PIV principle
PIV (Particle Image Velocimetry)
Fig. 2 Example of a double frame in PIV
Seeding particles don’t have any influence on the fluid flow
Notes: Vmig=relative velocity between particle and fluid

## Slide 5
Criteria of a suitable seeding particle:
A micrometer size in order to follow flow fluctuations
Well adapted mechanical properties (density, buoyancy etc.)
Right wettability conditions for an homogeneous mixing in the liquid

## Slide 6
induced by high electric field:
-
-
-
-
-
-
-
-
Notes: Unipolar injection of charge on the HV electrode
Particle displacement thanks to Coulomb force

## Slide 7
Limit the maximum charge carried by seeding particles
Choose adapted physical properties (electric permittivity, conductivity etc.)
Study of the influence of high voltage on different seeding particle types
How to avoid induced by the Coulomb Force?

## Slide 8
Theoretical maximum charge
Maximum charge collected by a dielectric particle in an outter electric field (cf. Pauthenier)
Fig. 3 Distribution of the radial component of the electric field during the charging process
If then
Notes: alors
𝜀_𝑝/𝜀_𝑓 ⟶0 alors 𝑞_𝑚𝑎𝑥⟶0

## Slide 9
 | PTFE | PMMA | Glass
Relative electric permittivity | 2.1 | 3.1 | 5
The higher the electric permittivity, the bigger the maximum charge is
We compare 3 particle types:
Table. 1 Electric permittivies of seeding particles
Fig. 5 Variations of maximum charge as a function of the electric field

## Slide 10
Experimental setup:
A planar EHD actuator
UHV
Epoxy Resin
Dielectric barrier (glass)
Electrodes
Images of particles in silicone oil

## Slide 11
 | A | B | C
Electric field (*) | 3.3 | 0.98 | 0.51
 | A | B | C
 | 3.3 | 0.98 | 0.51
Computation of the electric field (Maxwell)
Fig. 6 Electric field created by the planar actuator (
Table. 2 Electric field intensities at points A, B, C

## Slide 12
Maximum charge of glass particle is 30% higher than the PMMA one, and 70% higher than the PTFE one
Fig. 7 Variations of maximum charge as a function of the electric field

## Slide 13
Velocity measurements with PIV
Fig. 8 Variations of the velocity as a function of the PTFE concentration
Concentration of seeding particle seems to not have any influence on the measured velocity
Variability of the velocity in the EHD wall jet is bigger than the statistical standard error.
Notes: Velocity as a function of the relative concentration of particles

## Slide 14
Differences between velocities measured with the 3 particle types?
Fig. 9 Variations of the velocity measured with different particle types
Particle types seems to not have any influence on the measured velocity

## Slide 15
Exponential fitting:
where a=6,3.A; b=0.13 a=5,3.A; b=0.12
PMMA seeding particles don’t clearly influence the current measurement
[-30kV;0kV]
Current measurements

## Slide 16
Conclusion
Theoretically maximum charge and so on velocity of migration of the seeding particles (PMMA, PTFE, Glass) highly depends on their electric permittivities
With the planar EHD actuator, it seems that the measured velocity (PIV) doesn’t depend on:
  particle types (for 2.1< <5)
  concentration of seeding particles

## Slide 17
high flow velocity short residence time of the particles in the high electric field zone particles cannot reach their maximum charge
Current measurements doesn’t reveal any influence of the seeding particles in silicone oil under high voltage.
[At this stage of the study]
we can reasonnably think that Particle Image Velocimetry (PIV) could be used in silicone oil under high voltage

## Slide 18
Fig. 10 Mean velocity field recorded with PIV
(seeding particle: PMMA,
UHV
Epoxy Resin
Dielectric barrier (glass)
Electrodes

## Slide 19
Application: study of flow control in dielectric liquids with PIV
Flow reattachment on the extrados thanks to the EHD actuator!

## Slide 20
Thank you for your attention

## Slide 21
Prospects
A charging time should be introduced to improve the model of Pauthenier
PIV measurements has been validated also with pressure measurements

## Slide 24
Fig.3 PMMA
UHV
3 types de particules différents
UHV
Fig.4 PTFE
Fig.5 Verre
UHV